## Slide 1: Electrode Set Problems on the ActiveTwo EEG System
Please follow this manual if you experience issues with active electrode sets of your ActiveTwo EEG

## Slide 2: Some back-ground:
Your ActiveTwo has been delivered to you with various active sensor sets. Since they are an accessory, and not a system element, they come with a standard 12 months warranty, like any other electrodes you purchase on the market. However, with proper care, they can last for at least 2-4 years – in fact, we have sets here that are 10 years old and still work well.
One day however, it may well be, when setting up a subject, and inserting a certain electrode, that a) the Blue CM LED starts to blink, along with all Offsets going high. Once you remove that electrode, all goes back to normal. This would mean, that this particular electrode is defective and must be replaced by us.
If the set is inside the warranty, we replace the electrode for free. Once outside, and that set has not been repaired before, we will repair the set at cost (see: https://shop.neurospec.com/biosemi-active-electrode-repair-order ) and replace any number of electrodes (up to 5 pcs – more is not recommended).
Please before sending the set: Clean the set thouroughly, and untangle the set perfectly nicely so we can repair it straight away when we get it.

## Slide 3: Choice of Services to chose from and place/pay your order on the Shop:
NS-7662-A: https://shop.neurospec.com/biosemi-active-electrode-repair-order
    Order electrode repair under warranty (freight to us paid by sender)
NS-7662-B: https://shop.neurospec.com/biosemi-active-electrode-repair-order
Order Electrode repair outside the standard warranty (provide payment in advance) – Conditions apply which must be met:
Electrodes are in good condition
Electrode Sets have not been repaired before
No more than 5 electrodes have been verified defective (we would not suggest a repair)

## Slide 4: Once you decided what you intend to do follow these steps:
Make sure to cleanse the Set(s) and untangle these nicely and pack properly.
Print out the following pages to use when sending your parcel:
Commerical Invoice : fill in the commercial invoice and change the number of sets you are sending, and fill in the total weight at the bottom. Make sure the Airway Bill corresponds to the same as the one on your actual Airway Bill from either DHL, UPS, Fedex or whatever courier you are using.
Airway Bill: On the airway bill, make sure to mention the reason for sending: REPAIR/RETURN and declare a value for customs of no more than EUR 5.00 / Set. Do not declare any INSURANCE VALUE, as otherwise we will be charged VAT on import (does not apply to Swiss Customer).

## Slide 5: 1) Fill out all the details like Contact Name, Phone, Way or Airway Bill Number and Print 3x and place in the plastic sleeve you use for the Airway Bill on top of parcel Below Sample only:

## Slide 6: Contact your Freight Forwarder in your country and send the package with all Forms duly filled as previously explained to: